FM Technicians are to the vehicle fire extinguisher monthly and ensure is available for annual inspection and testing. Monthly checks should include:

|  |
| --- |
| **EXTINGUISHERS** |
| a) The extinguisher is in position |
| b) Has not been discharged |
| c) Is not showing any obvious signs of damage |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date** | **Pass / Fail** | **Ref. No. / location** | **Remedial Action** | **All actions complete (date/initials)** |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |